## Clinics without autoclaves
Annual Infection Control Risk Assessment Tool for Clinics
Name of facility:_____________________________________________________
Date of assessment: _____________________________
1st Draft: November 2017
Developed by the National Department of Health, adapted from the 'Infection Control Assessment Tool for Primary Health Care Facilities', 2013 developed by US Agency for International Development (USAID)
Instructions for completing the Infection Control Assessment Tool
* Next to each question, mark a "1" next to the applicable answer in the column marked 'Score'.
* Individual instructions are also provided at some questions.
* The table below for summary of scores will auto calculate according to the scores allocated.
* Note: measures are scored according to weight and not "1" for each measure marked as compliant.
Summary of scores
Area | Score
General (5 measures) | 0
Environmental health (30 measures) | 0
Patient safety (44 measures) | 0
Staff Safety (18 measures) | 0
Total score (from 98 measures) | 0
Percentage
General | 0%
Environmental health | 0%
Patient safety | 0%
Staff Safety | 0%
Average percentage | 0%
Guide for performance of quality of practices assessed in each section | Percentage
Excellent practices in this area | 75%
Good practices in this area | 50-75%
Poor practices needing immediate attention | <50%
Item | Score | Weigh for score
GENERAL
1. Do you have the National Infection Control Policy?
No |  | 0
Yes |  | 0
2. Do you have a designated infection control officer?
No |  | 0
Yes |  | 0
3. Do you have a standard operating procedure/policy/guideline for each of the following areas?
Environmental Health
Waste management and disposal |  | 0
Cleanliness |  | 0
Linen |  | 0
Patient safety
Hand hygiene |  | 0
Respiratory hygiene and cough etiquette |  | 0
Injection safety |  | 0
Wound care |  | 0
Patient care equipment and instruments |  | 0
Staff safety
Personal protective clothing |  | 0
Needle stick injuries |  | 0
Staff development
4. In the past two years did all staff (professional and non-professional staff) receive training related to preventing nosocomial infections?
No (If no, omit question 2) |  | 0
Yes |  | 0
5. If yes, which of the following topics were discussed? (Mark all answers that apply with a "1")
Environmental Health
Cleanliness
Waste management and disposal
Linen
Patient safety
Hand hygiene
Respiratory hygiene and cough etiquette
Injection safety
Wound care
Patient care equipment
Staff safety
Personal protective clothing
Needle stick injuries
Number of answers checked (If 10 items checked, score allocated is 1) Auto calculated field | 0 | 0
Assessment section score | 0 | 0
Environmental Health
1. What is the general source of the health facility’s water supply (e.g., water supply for sinks)? (Check one answer)
Municipal water |  | 0
Water brought in by tanker trucks or containers |  | 0
Borehole |  | 0
Rainwater |  | 0
2. Does the water undergo purification to ensure potability prior to arriving/used at the health facility? If yes, omit question3,4 and 5
No |  | 0
Yes |  | 0
3. If no, does this water undergo additional treatment at the health facility?
No |  | 0
Yes |  | 0
4. Which method is used for additional treatment of water? (Mark the method that is generally used)
Chlorination |  | 0
Filtration |  | 0
Boiling |  | 0
5. What is the mechanism for sanitation clearance at the health facility?
Municipal sewerage |  | 0
Chemical toilets |  | 0
Pit latrine/bucket |  | 0
Healthcare Waste
6. Which health facility staff are trained in the handling/disposal of Healthcare risk waste? (Mark all answers that apply)
No training provided |  | 0
All clinical staff (including doctors, nurses) |  | 0
All health facility cleaning and maintenance staff |  | 0
7. Is healthcare risk waste containers available in the following areas :
Vital area
Consultation room
Treatment or procedure room
Emergency room
Number of answers checked (If 1 to 3 items checked, score allocated is 1, if 4 items checked score allocated is 2) auto calculated field | 0 | 0
8. Are clearly labeled containers used to store healthcare risk waste?
No |  | 0
Yes |  | 0
9. Is healthcare risk waste stored separately from healthcare general waste?
No |  | 0
Yes |  | 0
10. Is there a specific storage areas for healthcare risk waste
No |  | 0
Yes |  | 0
11. Does the storage areas for healthcare risk waste comply with the following safety requirements
Located outside of the facility
Has a roof
Well ventilated
Has rodent and vermin proof door and vent coverings
Locked at all times
Has shelving
Can be hosed with adequate drainage
Hand wash basin
Number of answers checked (If 5 to 7 items checked, score allocated is 1, if 8 items checked score allocated is 2) auto calculated field | 0 | 0
12. Is there a service provider appointed/mother hospital designated to remove healthcare risk waste
No |  | 0
Yes |  | 0
13.Is there a specific storage area for general healthcare waste (e.g., paper, food remains)
No |  | 0
Yes |  | 0
14. Does the municipality or mother hospital remove general healthcare waste?
No |  | 0
Yes |  | 0
Cleanliness
15. When is patient areas cleaned? (Check one answer)
Twice daily |  | 0
Every day |  | 0
Weekly |  | 0
16. What is the reason for daily cleaning in health facilities? (Check all the applicable answers)
Prevent the direct spread of microorganisms
Provide a clean, comfortable environment to the patient
Promote and maintain cleaning habits
Number of answers checked (auto calculated) | 0 | 0
17. In what order are the different parts cleaned? (Check all the applicable answers)
Starting at the bottom working up |  | 0
Starting at the top working down |  | 0
Starting from out to in (inward) |  | 0
Starting from in to out (outward) |  | 0
18. How do you clean the health facility floors? (Check one answer)
Sweeping |  | 0
Mopping using water |  | 0
Mopping using water and soap |  | 0
Mopping using water and chlorine |  | 0
19. What do you use to clean health facility surfaces? (Check one answer)
A dry cloth |  | 0
A cloth damped with water only |  | 0
A cloth damped with soapy water |  | 0
A cloth damped with chlorine |  | 0
20. What precautions is taken when removing dirty bed linen? (Check all the applicable answers)
None |  | 0
Avoid contact of uniform with dirty bed linen |  | 0
Avoid placing dirty bed linen on the floor |  | 0
21. How is spillages cleaned in the facility (secretions/discharges, blood, excretions)? (Check all the applicable answers)
A cleaner is called to mop the area |  | 0
The spillage is cleaned using paper towel and disinfectant |  | 0
The spillage is collected and placed in a plastic bag, and then labeled as “contaminated solid waste” |  | 0
Gloves should be used |  | 0
Afterwards, the area should be mopped using a chlorine solution |  | 0
Basic Equipment for Cleaning
22. What equipment is used to clean the facility? (Check all the applicable answers)
Two bowls – one with clean water; the other with soapy water |  | 0
A container or bag intended for dirty bed linen |  | 0
Colour coded Cloths |  | 0
Colour coded buckets |  | 0
Non-sterile gloves |  | 0
Rubber gloves |  | 0
Waterproof apron |  | 0
Janitor trolley or double bucket mop trolley |  | 0
Colour coded mops |  | 0
23. Which liquids are used for general cleaning? (Check all the applicable answers)
None |  | 0
Water and soap |  | 0
Chlorhexidine gluconate (Hibitane) |  | 0
Chlorine |  | 0
24. Which liquids are used to disinfect? (Check all the applicable answers)
None |  | 0
Water and soap |  | 0
Sodium perborate powder or Pthalaldehyde or Chlorhexidine gluconate (Hibitane) |  | 0
Chlorine |  | 0
25. Is there a separate area intended as a temporary storeroom for dirty and contaminated bed linen and clothes?
No |  | 0
Yes |  | 0
26. Where are mops and cloths washed? (Check all the applicable answers)
In the patient area sink |  | 0
In a sink specially designed for this purpose outside the patient area |  | 0
27. When should the cleaning equipment be washed? (Check all the applicable answers)
After each cleaning procedure |  | 0
Every day |  | 0
Weekly |  | 0
28. Where is the dirty water from the mop bucket emptied?
In the hand wash basin |  | 0
In the toilet |  | 0
In the slop-hopper/sluice |  | 0
In the outside drain |  | 0
29. What happens to the cleaning equipment after being used? (Check all the applicable answers)
It is used straight away to clean elsewhere |  | 0
It is washed and stored when still wet |  | 0
It is washed and left to dry |  | 0
Responsibility of Staff in Cleaning Procedures
30. Is the operational staff monitored or supervised when cleaning? (Check one answer)
Always |  | 0
Sometimes |  | 0
Never |  | 0
Assessment section score | 0 | 0
Patient Safety
Hand Hygiene Equipment and Supplies
1. Does each have clinical hand wash stations in the following areas:
Vital area
Consultation room
Treatment or procedure room
Emergency room
Number of answers checked (If 1 to 3 items checked, score allocated is 1, if 4 items checked score allocated is 2) auto calculated field | 0 | 0
2. What is the usual source of water for hand washing? (Check one answer)
No water is usually available |  | 0
Water is scooped from a basin and poured over hands |  | 0
Water is usually poured over hands from a basin |  | 0
Water is usually available from a cistern or container with gravity flow |  | 0
Running water from sink |  | 0
3. How frequently is running water available?
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
4. What type of soap is most frequently available for hand washing? (Check one answer)
No soap is available |  | 0
Plain bar soap stored in a receptacle that does not allow water to drain |  | 0
Plain bar soap stored in a receptacle that allows water to drain |  | 0
Plain liquid soap |  | 0
Liquid soap with antimicrobial agent |  | 0
5. How frequently is soap available? (Check one answer)
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
6. What types of dispensers are used in the facility for liquid soaps? (Check one answer)
Liquid soaps are not used |  | 0
Handheld pour bottle dispenser |  | 0
Hand operated pump dispenser |  | 0
7. How are liquid soap dispensers usually cleaned? (Check one answer)
Liquid soaps are not used |  | 0
Dispensers are topped off or refilled without cleaning |  | 0
Dispensers are emptied, washed, and dried before refilling |  | 0
Dispenser or dispenser insert is disposed of when empty and new one is used |  | 0
8. What method is usually available for drying hands after hand washing? (Check one answer)
None (air dry) |  | 0
Multiple-use cloth towel |  | 0
Single-use cloth towel |  | 0
Paper towels |  | 0
Hot air dryer |  | 0
9. Is a waterless, alcohol-based hand antiseptic used for hand hygiene when there has not been contact with body fluids? (Check one answer)
No |  | 0
Yes, alcohol-based antiseptic without emollient |  | 0
Yes, alcohol-based antiseptic with emollient |  | 0
10. Is waterless, alcohol-based hand antiseptic for hand washing always available?
No |  | 0
Yes |  | 0
11. How many dispensers of waterless alcohol-based antiseptic are available in the facility? (Check one answer)
Alcohol-based hand antiseptic is not available |  | 0
Fewer than one for every service area |  | 0
One or more for every service area |  | 0
Hand Hygiene Practices
12. In which of the following situations do health care personnel routinely wash their hands with soap and water or a waterless, alcohol-based hand antiseptic? (Read the situations and mark all answers that apply)
Before contact with patients |  | 0
After contact with individual patients or their immediate environment |  | 0
Before manipulating medical devices such as intravenous catheters, or before handling wound dressing |  | 0
After touching potentially contaminated objects or surfaces |  | 0
After removing gloves |  | 0
After using bathroom, toilet, latrine |  | 0
13. Do staff with skin lesions and cuts use waterproof dressings to cover it?
No |  | 0
Yes |  | 0
14. Do staff have short finger nails and/or not using artificial nails or nail extenders?
No |  | 0
Yes |  | 0
15. Is it usual practice to wear gloves instead of washing hands for contact with patients or potentially contaminated environmental surfaces? (Check one answer)
No |  | 0
Yes |  | 0
16. Does the health facility have at least one poster on hand washing in every consultation room? (Check one answer)
No |  | 0
Yes |  | 0
Respiratory Hygiene
17. Are there posters with cough etiquette displayed in waiting areas?
No |  | 0
Yes |  | 0
18. Do patients that have a persistent or productive cough and or have symptoms of respiratory infection get fast tracked?
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
19. Adequate natural (windows) OR mechanical ventilation (ceiling fans/air conditioner) in all waiting and service areas
No |  | 0
Yes |  | 0
Patient care equipment and instruments cleaning and disinfection
20. Are stethoscopes cleaned daily?
No |  | 0
Yes |  | 0
21. Are adult scales wiped daily with a disinfectant?
No |  | 0
Yes |  | 0
22. Are baby scales wiped with a disinfectant between each patient?
No |  | 0
Yes |  | 0
23. Are clinical thermometers disinfected between each patient?
No |  | 0
Yes |  | 0
24. Is the equipment on the emergency trolley cleaned immediately after each use?
No |  | 0
Yes |  | 0
25. Are blood pressure cuffs cleaned at least weekly?
No |  | 0
Yes |  | 0
26. Are pulse oximeters disinfected after use per patient?
No |  | 0
Yes |  | 0
27. Which disinfectant is usually used to disinfect used items? (Mark the one that is most commonly used)
Not all used items are decontaminated |  | 0
Ethyl or isopropyl alcohol |  | 0
Glutaraldehyde |  | 0
Sodium perborate powder OR phthalaldehyde |  | 0
Sodium hypochlorite or other chlorine compound |  | 0
28. What is used to rinse items after high-level chemical disinfection? (Check one answer)
Tap water alone |  | 0
Distilled water alone |  | 0
Distilled water followed by alcohol rinse |  | 0
Tap water followed by alcohol rinse |  | 0
Sterile water |  | 0
29. Does disinfection occur before cleaning or any other handling of used items?
No |  | 0
Yes |  | 0
30. Equipment disinfection is done in a chlorine solution
That is not diluted |  | 0
Diluted in 5 parts of chlorine and 5 parts of water |  | 0
Diluted in 1 part of chlorine and 9 parts of water |  | 0
No chlorine is used |  | 0
31. For disinfection, equipment is kept in chlorine solution for:
5 minutes |  | 0
10 minutes |  | 0
30 minutes |  | 0
Only rinsed with the solution |  | 0
32. How are soiled instruments usually cleaned? (Mark all answers that apply)
Rinsing |  | 0
Vigorous scrubbing with brush |  | 0
33. Which of the following solutions is used to remove organic material from soiled instruments? (Check one answer)
Water |  | 0
Water with detergent |  | 0
Patient care Instruments and Equipment Sterilization
34. In what order are sterile supplies removed from storage for use? (Check one answer)
Newest sterile packs are used first |  | 0
Randomly or as convenient |  | 0
Oldest sterile packs are used first |  | 0
35. Does the written SOP cover the shelf-life after which unprotected items must be re-sterilized?
No |  | 0
Yes |  | 0
Injection Practices
36. How often do you use reprocessed needles for injections? (Check one answer)
Sometimes |  | 0
Usually |  | 0
Always |  | 0
Never |  | 0
37. Do you use the same needle in multiple patients without formal reprocessing? (Mark one answer)
Sometimes |  | 0
Usually |  | 0
Always |  | 0
Never |  | 0
38. Are auto-disposable syringes? (Check one answer)
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
39. When drawing medications or vaccines from vials, do you swab the top of the vial with alcohol or alcohol-containing (e.g., tincture of iodine) disinfectant?
No |  | 0
Yes |  | 0
40. Do you leave the needle sticking into multi-dose vials so that the solution can be withdrawn easily for multiple patients?
No |  | 0
Yes |  | 0
41. Do you use the same syringes in multiple patients without formal reprocessing? (Mark one answer)
Sometimes |  | 0
Usually |  | 0
Always |  | 0
Never |  | 0
42. Do you use glass ampoules that must be cracked open by hand?
No |  | 0
Yes |  | 0
43. Are ampoules cracked using sterile gauze to protect the hands and to keep the contents sterile?
No |  | 0
Yes |  | 0
44. Do you have routine training sessions to educate staff about safe injection practices?
No |  | 0
Yes |  | 0
Assessment section score | 0 | 0
Staff safety
Personal Protective Equipment
1. Is the following available for staff to use at all times:
Gloves sterile |  | 0
Gloves non-sterile |  | 0
Gowns OR Disposable aprons |  | 0
Protective face shields OR goggles with surgical face masks |  | 0
Safety shoes |  | 0
Staff health
2. For which employee exposures does the health facility have written policies and procedures readily available to health facility staff? (Mark all answers that apply)
Rabies |  | 0
Diphtheria |  | 0
Hepatitis A |  | 0
Hepatitis B |  | 0
Hepatitis C |  | 0
HIV |  | 0
Meningococcal disease |  | 0
Number of answers checked (If 1 to 4 items checked, score allocated is 1. If 5 or more items checked, score allocated is 2) Auto calculated field | 0 | 0
3. Are staff screened monthly for TB symptoms?
No |  | 0
Yes |  | 0
4. Are staff routinely offered screening for HIV:
No |  | 0
Yes |  | 0
5. Which of the following topics are routinely included in employee education programs that cover disease transmission, avoiding exposure, and what to do if exposed? (Mark all answers that apply)
TB |  | 0
Rabies |  | 0
Viral hepatitis |  | 0
HIV |  | 0
Meningococcal disease |  | 0
Viral hemorrhagic fever |  | 0
Number of answers checked (If 1 to 3 items checked, score allocated is 1. If 4 or more items checked, score allocated is 2) Auto calculated field | 0 | 0
Control of Sharp Instruments
6. Is there a written policy/procedure for reducing the risk of injuries to personnel by needles or other sharp instruments?
No |  | 0
Yes |  | 0
7. Are sharps containers available for disposable needles and other sharps in every room where required?
No |  | 0
Yes |  | 0
8. Which types of containers are used? (Mark the answer that best applies)
No container |  | 0
Non-puncture-resistant material containers |  | 0
Puncture-resistant cardboard |  | 0
9. Are these containers emptied or disposed of when they are three-quarters full? (Mark the answer that best applies)
No |  | 0
Yes |  | 0
10. How are containers handled when they are changed? (Mark the answer that best applies)
Emptied into another container and reused |  | 0
Sent for disposal and not reused |  | 0
11. How are the contents of these containers finally disposed of? (Mark the answer that best applies)
Landfill or dumping |  | 0
Regular trash |  | 0
Removal by medical waste contractor |  | 0
12. Are needles recapped after use or prior to disposal?
No |  | 0
Yes |  | 0
13. Are needles bent or broken prior to disposal?
No |  | 0
Yes |  | 0
14. Are retractable lancets available for obtaining blood?
No |  | 0
Yes |  | 0
15. Are employee punctures and sharp injuries monitored? (Mark one answer only)
Incidents not tracked |  | 0
Key features such as type of exposure (percutaneous, mucosal, skin, etc.), type of device (solid or hollow needle, etc.), circumstances at time of exposure (surgery, needle disposal), location of exposure, time of day of exposure, or length of hire of exposed staff member are recorded/documented |  | 0
Needle stick injuries
16. Is a copy of the Occupational Health and Safety Act available
No |  | 0
Yes |  | 0
17. Are all needle stick injuries recorded and reported as prescribed in the Compensation for Occupational Injuries and Diseases Act no 130 of 1993 (COIDA)
No |  | 0
Yes |  | 0
18. Is the post exposure prophylaxis (PEP) provided as per PEP Guideline
No |  | 0
Yes |  | 0
Assessment section score | 0 | 0

## Clinics with autoclaves
Annual Infection Control Risk Assessment Tool for Clinics
Name of facility:_____________________________________________________
Date of assessment: _____________________________
1st Draft: November 2017
Developed by the National Department of Health, adapted from the 'Infection Control Assessment Tool for Primary Health Care Facilities', 2013 developed by US Agency for International Development (USAID)
Instructions for completing the Infection Control Assessment Tool
* Next to each question, mark a "1" next to the applicable answer in the column marked 'Score'.
* Individual instructions are also provided at some questions.
* The table below for summary of scores will auto calculate according to the scores allocated.
* Note: measures are scored according to weight and not "1" for each measure marked as compliant.
Summary of scores
Area | Score
General (5 measures) | 0
Environmental health (30 measures) | 0
Patient safety (56 measures) | 0
Staff Safety (18 measures) | 0
Total score (from 109 measures) | 0
Percentage
General (5 questions) | 0%
Environmental health (31 questions) | 0%
Patient safety (56 questions) | 0%
Staff Safety (18 questions) | 0%
Average percentage | 0%
Guide for performance of quality of practices assessed in each section | Percentage
Excellent practices in this area | 75%
Good practices in this area | 50-75%
Poor practices needing immediate attention | <50%
Item | Score | Weigh for score
GENERAL
1. Do you have the National Infection Control Policy?
No |  | 0
Yes |  | 0
2. Do you have a designated infection control officer?
No |  | 0
Yes |  | 0
3. Do you have a standard operating procedure/policy/guideline for each of the following areas?
Environmental Health
Waste management and disposal |  | 0
Cleanliness |  | 0
Linen |  | 0
Patient safety
Hand hygiene |  | 0
Respiratory hygiene and cough etiquette |  | 0
Injection safety |  | 0
Wound care |  | 0
Patient care equipment and instruments |  | 0
Staff safety
Personal protective clothing |  | 0
Needle stick injuries |  | 0
Staff development
4. In the past two years did all staff (professional and non-professional staff) receive training related to preventing nosocomial infections?
No (If no, omit question 2) |  | 0
Yes |  | 0
5. If yes, which of the following topics were discussed? (Mark all answers that apply with a "1")
Environmental Health
Cleanliness
Waste management and disposal
Linen
Patient safety
Hand hygiene
Respiratory hygiene and cough etiquette
Injection safety
Wound care
Patient care equipment
Staff safety
Personal protective clothing
Needle stick injuries
Number of answers checked (If 10 items checked, score allocated is 1) Auto calculated field | 0 | 0
Assessment section score | 0 | 0
Environmental Health
1. What is the general source of the health facility’s water supply (e.g., water supply for sinks)? (Check one answer)
Municipal water |  | 0
Water brought in by tanker trucks or containers |  | 0
Borehole |  | 0
Rainwater |  | 0
2. Does the water undergo purification to ensure potability prior to arriving/used at the health facility? If yes, omit question 3,4 and 5
No |  | 0
Yes |  | 0
3. If no, does this water undergo additional treatment at the health facility?
No |  | 0
Yes |  | 0
4. Which method is used for additional treatment of water? (Mark the method that is generally used)
Chlorination |  | 0
Filtration |  | 0
Boiling |  | 0
5. What is the mechanism for sanitation clearance at the health facility?
Municipal sewerage |  | 0
Chemical toilets |  | 0
Pit latrine/bucket |  | 0
Healthcare Waste
6. Which health facility staff are trained in the handling/disposal of Healthcare risk waste? (Mark all answers that apply)
No training provided |  | 0
All clinical staff (including doctors, nurses) |  | 0
All health facility cleaning and maintenance staff |  | 0
7. Is healthcare risk waste containers available in the following areas :
Vital area
Consultation room
Treatment or procedure room
Emergency room
Number of answers checked (If 1 to 3 items checked, score allocated is 1, if 4 items checked score allocated is 2) auto calculated field | 0 | 0
8. Are clearly labeled containers used to store healthcare risk waste?
No |  | 0
Yes |  | 0
9. Is healthcare risk waste stored separately from healthcare general waste?
No |  | 0
Yes |  | 0
10. Is there a specific storage areas for healthcare risk waste
No |  | 0
Yes |  | 0
11. Does the storage areas for healthcare risk waste comply with the following safety requirements
Located outside of the facility
Has a roof
Well ventilated
Has rodent and vermin proof door and vent coverings
Locked at all times
Has shelving
Can be hosed with adequate drainage
Hand wash basin
Number of answers checked (If 5 to 7 items checked, score allocated is 1, if 8 items checked score allocated is 2) auto calculated field | 0 | 0
12. Is there a service provider appointed/mother hospital designated to remove healthcare risk waste
No |  | 0
Yes |  | 0
13.Is there a specific storage area for general healthcare waste (e.g., paper, food remains)
No |  | 0
Yes |  | 0
14. Does the municipality or mother hospital remove general healthcare waste?
No |  | 0
Yes |  | 0
Cleanliness
15. When is patient areas cleaned? (Check one answer)
Twice daily |  | 0
Every day |  | 0
Weekly |  | 0
16. What is the reason for daily cleaning in health facilities? (Check all the applicable answers)
Prevent the direct spread of microorganisms
Provide a clean, comfortable environment to the patient
Promote and maintain cleaning habits
Number of answers checked (auto calculated) | 0 | 0
17. In what order are the different parts cleaned? (Check all the applicable answers)
Starting at the bottom working up |  | 0
Starting at the top working down |  | 0
Starting from out to in (inward) |  | 0
Starting from in to out (outward) |  | 0
18. How do you clean the health facility floors? (Check one answer)
Sweeping |  | 0
Mopping using water |  | 0
Mopping using water and soap |  | 0
Mopping using water and chlorine |  | 0
19. What do you use to clean health facility surfaces? (Check one answer)
A dry cloth |  | 0
A cloth damped with water only |  | 0
A cloth damped with soapy water |  | 0
A cloth damped with chlorine |  | 0
20. What precautions is taken when removing dirty bed linen? (Check all the applicable answers)
None |  | 0
Avoid contact of uniform with dirty bed linen |  | 0
Avoid placing dirty bed linen on the floor |  | 0
21. How is spillages cleaned in the facility (secretions/discharges, blood, excretions)? (Check all the applicable answers)
A cleaner is called to mop the area |  | 0
The spillage is cleaned using paper towel and disinfectant |  | 0
The spillage is collected and placed in a plastic bag, and then labeled as “contaminated solid waste” |  | 0
Gloves should be used |  | 0
Afterwards, the area should be mopped using a chlorine solution |  | 0
Basic Equipment for Cleaning
22. What equipment is used to clean the facility? (Check all the applicable answers)
Two bowls – one with clean water; the other with soapy water |  | 0
A container or bag intended for dirty bed linen |  | 0
Colour coded Cloths |  | 0
Colour coded buckets |  | 0
Non-sterile gloves |  | 0
Rubber gloves |  | 0
Waterproof apron |  | 0
Janitor trolley or double bucket mop trolley |  | 0
Colour coded mops |  | 0
23. Which liquids are used for general cleaning? (Check all the applicable answers)
None |  | 0
Water and soap |  | 0
Chlorhexidine gluconate (Hibitane) |  | 0
Chlorine |  | 0
24. Which liquids are used to disinfect? (Check all the applicable answers)
None |  | 0
Water and soap |  | 0
Sodium perborate powder or Pthalaldehyde or Chlorhexidine gluconate (Hibitane) |  | 0
Chlorine |  | 0
25. Is there a separate area intended as a temporary storeroom for dirty and contaminated bed linen and clothes?
No |  | 0
Yes |  | 0
26. Where are mops and cloths washed? (Check all the applicable answers)
In the patient area sink |  | 0
In a sink specially designed for this purpose outside the patient area |  | 0
27. When should the cleaning equipment be washed? (Check all the applicable answers)
After each cleaning procedure |  | 0
Every day |  | 0
Weekly |  | 0
28. Where is the dirty water from the mop bucket emptied?
In the hand wash basin |  | 0
In the toilet |  | 0
In the slop-hopper/sluice |  | 0
In the outside drain |  | 0
29. What happens to the cleaning equipment after being used? (Check all the applicable answers)
It is used straight away to clean elsewhere |  | 0
It is washed and stored when still wet |  | 0
It is washed and left to dry |  | 0
Responsibility of Staff in Cleaning Procedures
30. Is the operational staff monitored or supervised when cleaning? (Check one answer)
Always |  | 0
Sometimes |  | 0
Never |  | 0
Assessment section score | 0 | 0
Patient Safety
Hand Hygiene Equipment and Supplies
1. Does each have clinical hand wash stations in the following areas:
Vital area
Consultation room
Treatment or procedure room
Emergency room
Number of answers checked (If 1 to 3 items checked, score allocated is 1, if 4 items checked score allocated is 2) auto calculated field | 0 | 0
2. What is the usual source of water for hand washing? (Check one answer)
No water is usually available |  | 0
Water is scooped from a basin and poured over hands |  | 0
Water is usually poured over hands from a basin |  | 0
Water is usually available from a cistern or container with gravity flow |  | 0
Running water from sink |  | 0
3. How frequently is running water available?
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
4. What type of soap is most frequently available for hand washing? (Check one answer)
No soap is available |  | 0
Plain bar soap stored in a receptacle that does not allow water to drain |  | 0
Plain bar soap stored in a receptacle that allows water to drain |  | 0
Plain liquid soap |  | 0
Liquid soap with antimicrobial agent |  | 0
5. How frequently is soap available? (Check one answer)
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
6. What types of dispensers are used in the facility for liquid soaps? (Check one answer)
Liquid soaps are not used |  | 0
Handheld pour bottle dispenser |  | 0
Hand operated pump dispenser |  | 0
7. How are liquid soap dispensers usually cleaned? (Check one answer)
Liquid soaps are not used |  | 0
Dispensers are topped off or refilled without cleaning |  | 0
Dispensers are emptied, washed, and dried before refilling |  | 0
Dispenser or dispenser insert is disposed of when empty and new one is used |  | 0
8. What method is usually available for drying hands after hand washing? (Check one answer)
None (air dry) |  | 0
Multiple-use cloth towel |  | 0
Single-use cloth towel |  | 0
Paper towels |  | 0
Hot air dryer |  | 0
9. Is a waterless, alcohol-based hand antiseptic used for hand hygiene when there has not been contact with body fluids? (Check one answer)
No |  | 0
Yes, alcohol-based antiseptic without emollient |  | 0
Yes, alcohol-based antiseptic with emollient |  | 0
10. Is waterless, alcohol-based hand antiseptic for hand washing always available?
No |  | 0
Yes |  | 0
11. How many dispensers of waterless alcohol-based antiseptic are available in the facility? (Check one answer)
Alcohol-based hand antiseptic is not available |  | 0
Fewer than one for every service area |  | 0
One or more for every service area |  | 0
Hand Hygiene Practices
12. In which of the following situations do health care personnel routinely wash their hands with soap and water or a waterless, alcohol-based hand antiseptic? (Read the situations and mark all answers that apply)
Before contact with patients |  | 0
After contact with individual patients or their immediate environment |  | 0
Before manipulating medical devices such as intravenous catheters, or before handling wound dressing |  | 0
After touching potentially contaminated objects or surfaces |  | 0
After removing gloves |  | 0
After using bathroom, toilet, latrine |  | 0
13. Do staff with skin lesions and cuts use waterproof dressings to cover it?
No |  | 0
Yes |  | 0
14. Do staff have short finger nails and/or not using artificial nails or nail extenders?
No |  | 0
Yes |  | 0
15. Is it usual practice to wear gloves instead of washing hands for contact with patients or potentially contaminated environmental surfaces? (Check one answer)
No |  | 0
Yes |  | 0
16. Does the health facility have at least one poster on hand washing in every consultation room? (Check one answer)
No |  | 0
Yes |  | 0
Respiratory Hygiene
17. Are there posters with cough etiquette displayed in waiting areas?
No |  | 0
Yes |  | 0
18. Do patients that have a persistent or productive cough and or have symptoms of respiratory infection get fast tracked?
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
19. Adequate natural (windows) OR mechanical ventilation (ceiling fans/air conditioner) in all waiting and service areas
No |  | 0
Yes |  | 0
Patient care equipment and instruments cleaning and disinfection
20. Are stethoscopes cleaned daily?
No |  | 0
Yes |  | 0
21. Are adult scales wiped daily with a disinfectant?
No |  | 0
Yes |  | 0
22. Are baby scales wiped with a disinfectant between each patient?
No |  | 0
Yes |  | 0
23. Are clinical thermometers disinfected between each patient?
No |  | 0
Yes |  | 0
24. Is the equipment on the emergency trolley cleaned immediately after each use?
No |  | 0
Yes |  | 0
25. Are blood pressure cuffs cleaned at least weekly?
No |  | 0
Yes |  | 0
26. Are pulse oximeters disinfected after use per patient?
No |  | 0
Yes |  | 0
27. Which disinfectant is usually used to disinfect used items? (Mark the one that is most commonly used)
Not all used items are decontaminated |  | 0
Ethyl or isopropyl alcohol |  | 0
Glutaraldehyde |  | 0
Sodium perborate powder OR phthalaldehyde |  | 0
Sodium hypochlorite or other chlorine compound |  | 0
28. What is used to rinse items after high-level chemical disinfection? (Check one answer)
Tap water alone |  | 0
Distilled water alone |  | 0
Distilled water followed by alcohol rinse |  | 0
Tap water followed by alcohol rinse |  | 0
Sterile water |  | 0
29. Does disinfection occur before cleaning or any other handling of used items?
No |  | 0
Yes |  | 0
30. Equipment disinfection is done in a chlorine solution
That is not diluted |  | 0
Diluted in 5 parts of chlorine and 5 parts of water |  | 0
Diluted in 1 part of chlorine and 9 parts of water |  | 0
No chlorine is used |  | 0
31. For disinfection, equipment is kept in chlorine solution for:
5 minutes |  | 0
10 minutes |  | 0
30 minutes |  | 0
Only rinsed with the solution |  | 0
32. How are soiled instruments usually cleaned? (Mark all answers that apply)
Rinsing |  | 0
Vigorous scrubbing with brush |  | 0
33. Which of the following solutions is used to remove organic material from soiled instruments? (Check one answer)
Water |  | 0
Water with detergent |  | 0
Patient care Instruments and Equipment Sterilization
34. Is equipment sterilized at the facility?
No |  | 0
Yes |  | 0
35. If the answer above is Yes, then indicate if the designated staff member has been trained to undertake sterilisation and use of autoclave
No |  | 0
Yes |  | 0
36. What procedures do staff follow when sterilizer failures are detected? (mark all applicable questions)
No written procedure |  | 0
Reporting of failure |  | 0
Recall potentially contaminated items from clinical units |  | 0
37. What material is usually used to package items for sterilization? (Check one answer)
No wrapping |  | 0
Canvas |  | 0
Paper |  | 0
Cotton |  | 0
Muslin |  | 0
Newsprint |  | 0
37. How many layers are used to wrap items to be sterilized? (Check one answer)
One layer |  | 0
Two layers |  | 0
38. Which methods are used for equipment sterilization? (Mark all answers that apply)
Microwave |  | 0
Flash steam/vapor sterilization (autoclave) |  | 0
High-level chemical disinfection |  | 0
39. Are indicators used to monitor the success of sterilization? (Check one answer)
No indicator is used |  | 0
Chemical indicators used |  | 0
40. How often are monitoring indicators used? (Check one answer)
Neither is used |  | 0
Once a week |  | 0
Once a month |  | 0
Every day |  | 0
Every cycle |  | 0
41. How frequently are autoclaves checked by a service or maintenance person? (Check one answer)
No autoclaves available in health facility |  | 0
Only when serviced as needed for repairs |  | 0
Only when serviced by maintenance per service contract |  | 0
Once a month |  | 0
Several times a year |  | 0
42. How are sterile instrument packs stored? (Check one answer)
Directly on shelves or carts |  | 0
In cardboard boxes |  | 0
In paper bags |  | 0
In enclosed plastic or metal boxes |  | 0
In plastic bags |  | 0
43. Is the date of sterilization written on sterile packs?
No |  | 0
Yes |  | 0
44. In what order are sterile supplies removed from storage for use? (Check one answer)
Newest sterile packs are used first |  | 0
Randomly or as convenient |  | 0
Oldest sterile packs are used first |  | 0
45. Does the written SOP cover the shelf-life after which unprotected items must be re-sterilized?
No |  | 0
Yes |  | 0
46. How often are time, temperature, and pressure monitored during the steam/pressure sterilization process? (Check one answer)
Once a week |  | 0
Once a month |  | 0
Several times a year (not regularly) |  | 0
Only when serviced by maintenance per service contract |  | 0
Only when serviced by maintenance as needed for repairs |  | 0
On schedule recommended by manufacturer |  | 0
Every day |  | 0
Every cycle |  | 0
47. How are items dried after removal from the autoclave? (Check one answer)
No drying |  | 0
Air dried |  | 0
Dry heat (i.e., oven) |  | 0
Forced air (i.e., fan) |  | 0
Injection Practices
48. How often do you use reprocessed needles for injections? (Check one answer)
Sometimes |  | 0
Usually |  | 0
Always |  | 0
Never |  | 0
49. Do you use the same needle in multiple patients without formal reprocessing? (Mark one answer)
Sometimes |  | 0
Usually |  | 0
Always |  | 0
Never |  | 0
50. Are auto-disposable syringes? (Check one answer)
Never |  | 0
Sometimes |  | 0
Usually |  | 0
Always |  | 0
51. When drawing medications or vaccines from vials, do you swab the top of the vial with alcohol or alcohol-containing (e.g., tincture of iodine) disinfectant?
No |  | 0
Yes |  | 0
52. Do you leave the needle sticking into multi-dose vials so that the solution can be withdrawn easily for multiple patients?
No |  | 0
Yes |  | 0
53. Do you use the same syringes in multiple patients without formal reprocessing? (Mark one answer)
Sometimes |  | 0
Usually |  | 0
Always |  | 0
Never |  | 0
54. Do you use glass ampoules that must be cracked open by hand?
No |  | 0
Yes |  | 0
55. Are ampoules cracked using sterile gauze to protect the hands and to keep the contents sterile?
No |  | 0
Yes |  | 0
56. Do you have routine training sessions to educate staff about safe injection practices?
No |  | 0
Yes |  | 0
Assessment section score | 0 | 0
Staff safety
Personal Protective Equipment
1. Is the following available for staff to use at all times:
Gloves sterile |  | 0
Gloves non-sterile |  | 0
Gowns OR Disposable aprons |  | 0
Protective face shields OR goggles with surgical face masks |  | 0
Safety shoes |  | 0
Staff health
2. For which employee exposures does the health facility have written policies and procedures readily available to health facility staff? (Mark all answers that apply)
Rabies |  | 0
Diphtheria |  | 0
Hepatitis A |  | 0
Hepatitis B |  | 0
Hepatitis C |  | 0
HIV |  | 0
Meningococcal disease |  | 0
Number of answers checked (If 1 to 4 items checked, score allocated is 1. If 5 or more items checked, score allocated is 2) Auto calculated field | 0 | 0
3. Are staff screened monthly for TB symptoms?
No |  | 0
Yes |  | 0
4. Are staff routinely offered screening for HIV:
No |  | 0
Yes |  | 0
5. Which of the following topics are routinely included in employee education programs that cover disease transmission, avoiding exposure, and what to do if exposed? (Mark all answers that apply)
TB |  | 0
Rabies |  | 0
Viral hepatitis |  | 0
HIV |  | 0
Meningococcal disease |  | 0
Viral hemorrhagic fever |  | 0
Number of answers checked (If 1 to 3 items checked, score allocated is 1. If 4 or more items checked, score allocated is 2) Auto calculated field | 0 | 0
Control of Sharp Instruments
6. Is there a written policy/procedure for reducing the risk of injuries to personnel by needles or other sharp instruments?
No |  | 0
Yes |  | 0
7. Are sharps containers available for disposable needles and other sharps in every room where required?
No |  | 0
Yes |  | 0
8. Which types of containers are used? (Mark the answer that best applies)
No container |  | 0
Non-puncture-resistant material containers |  | 0
Puncture-resistant cardboard |  | 0
9. Are these containers emptied or disposed of when they are three-quarters full? (Mark the answer that best applies)
No |  | 0
Yes |  | 0
10. How are containers handled when they are changed? (Mark the answer that best applies)
Emptied into another container and reused |  | 0
Sent for disposal and not reused |  | 0
11. How are the contents of these containers finally disposed of? (Mark the answer that best applies)
Landfill or dumping |  | 0
Regular trash |  | 0
Removal by medical waste contractor |  | 0
12. Are needles recapped after use or prior to disposal?
No |  | 0
Yes |  | 0
13. Are needles bent or broken prior to disposal?
No |  | 0
Yes |  | 0
14. Are retractable lancets available for obtaining blood?
No |  | 0
Yes |  | 0
15. Are employee punctures and sharp injuries monitored? (Mark one answer only)
Incidents not tracked |  | 0
Key features such as type of exposure (percutaneous, mucosal, skin, etc.), type of device (solid or hollow needle, etc.), circumstances at time of exposure (surgery, needle disposal), location of exposure, time of day of exposure, or length of hire of exposed staff member are recorded/documented |  | 0
Needle stick injuries
16. Is a copy of the Occupational Health and Safety Act available
No |  | 0
Yes |  | 0
17. Are all needle stick injuries recorded and reported as prescribed in the Compensation for Occupational Injuries and Diseases Act no 130 of 1993 (COIDA)
No |  | 0
Yes |  | 0
18. Is the post exposure prophylaxis (PEP) provided as per PEP Guideline
No |  | 0
Yes |  | 0
Assessment section score | 0 | 0